## Product Information
Standard/Reference Material | Part # | Analyte Concentrations | Matrix | Storage Conditions
HPLC Calibration Standard Mix #1 | LQC-HPLC-1 | 0.40% w/v DP4+ (Dextrin), 0.20% w/v DP3 (Maltotriose), 0.40% w/v DP2 (Maltose), 2.00% w/v Glucose, 0.20% w/v Fructose, 0.20% w/v Lactic Acid, 0.60% w/v Glycerol, 0.10% w/v Acetic Acid, 2.00% w/v Ethanol | Acidified Type 1 DI | Refrigeration | Starch-based Fermentation HPLC Analytical Standards
HPLC Calibration Standard Mix #2 | LQC-HPLC-2 | 0.80% w/v DP4+ (Dextrin), 0.40% w/v DP3 (Maltotriose), 0.80% w/v DP2 (Maltose), 4.00% w/v Glucose, 0.40% w/v Fructose, 0.40% w/v Lactic Acid, 1.20% w/v Glycerol, 0.20% w/v Acetic Acid, 6.00% w/v Ethanol | Acidified Type 1 DI | Refrigeration
HPLC Calibration Standard Mix #3 | LQC-HPLC-3 | 1.20% w/v DP4+ (Dextrin), 0.60% w/v DP3 (Maltotriose), 1.20% w/v DP2 (Maltose), 6.00% w/v Glucose, 0.60% w/v Fructose, 0.60% w/v Lactic Acid, 1.80% w/v Glycerol, 0.30% w/v Acetic Acid, 10.00% w/v Ethanol | Acidified Type 1 DI | Refrigeration
HPLC Calibration Standard Mix #4 | LQC-HPLC-4 | 1.60% w/v DP4+ (Dextrin), 0.80% w/v DP3 (Maltotriose), 1.60% w/v DP2 (Maltose), 8.00% w/v Glucose, 0.80% w/v Fructose, 0.80% w/v Lactic Acid, 2.40% w/v Glycerol, 0.40% w/v Acetic Acid, 14.00% w/v Ethanol | Acidified Type 1 DI | Refrigeration
HPLC Calibration Standard Mix #5 | LQC-HPLC-5 | 2.00% w/v DP4+ (Dextrin), 1.00% w/v DP3 (Maltotriose), 2.00% w/v DP2 (Maltose), 10.00% w/v Glucose, 1.00% w/v Fructose, 1.00% w/v Lactic Acid, 3.00% w/v Glycerol, 0.50% w/v Acetic Acid, 18.00% w/v Ethanol | Acidified Type 1 DI | Refrigeration
1HPLC Validation Standard Mix | LQC-HPLC-V | 1.60% w/v DP4+ (Dextrin), 0.80% w/v DP3 (Maltotriose), 1.60% w/v DP2 (Maltose), 8.00% w/v Glucose, 0.80% w/v Fructose, 0.80% w/v Lactic Acid, 2.40% w/v Glycerol, 0.40% w/v Acetic Acid, 14.00% w/v Ethanol | Acidified Type 1 DI | Refrigeration
HPLC Fermentation Verification Check Standard Mix | LQC-HPLC-CK | 3.25% w/v DP4+ (Dextrin), 1.00% w/v DP3 (Maltotriose), 2.00% w/v DP2 (Maltose), 2.00% w/v Glucose, 0.30% w/v Lactic Acid, 1.00% w/v Glycerol, 0.30% w/v Acetic Acid, 12.00% w/v Ethanol | Acidified Type 1 DI | Refrigeration
HPLC Calibration Standard Mix #1 (Lower Level) | LQC-HPLC-1L | 0.10% w/v DP4+ (Dextrin), 0.05% w/v DP3 (Maltotriose), 0.10% w/v DP2 (Maltose), 0.50% w/v Glucose, 0.05% w/v Fructose, 0.10% w/v Lactic Acid, 0.10% w/v Glycerol, 0.05% w/v Acetic Acid, 0.50% w/v Ethanol | Acidified Type 1 DI | Refrigeration
HPLC Calibration Standard Mix #2 (Lower Level) | LQC-HPLC-2L | 0.20% w/v DP4+ (Dextrin), 0.10% w/v DP3 (Maltotriose), 0.20% w/v DP2 (Maltose), 1.00% w/v Glucose, 0.10% w/v Fructose, 0.20% w/v Lactic Acid, 0.30% w/v Glycerol, 0.10% w/v Acetic Acid, 1.00% w/v Ethanol | Acidified Type 1 DI | Refrigeration
HPLC Calibration Standard Mix #3 (Lower Level) | LQC-HPLC-3L | 0.30% w/v DP4+ (Dextrin), 0.15% w/v DP3 (Maltotriose), 0.30% w/v DP2 (Maltose), 1.50% w/v Glucose, 0.15% w/v Fructose, 0.30% w/v Lactic Acid, 0.50% w/v Glycerol, 0.15% w/v Acetic Acid, 1.50% w/v Ethanol | Acidified Type 1 DI | Refrigeration
HPLC Cellulosic Calibration Standard Mix #1 | LQC-HPLC-CE-1 | 0.40% w/v DP4+ (Dextrin), 0.10% w/v Cellobiose, 1.00% w/v Glucose, 1.00% w/v Xylose, 0.60% w/v Arabinose, 0.10% w/v Lactic Acid, 0.40% w/v Glycerol, 0.20% w/v Acetic Acid, 2.00% w/v Ethanol | Acidified Type 1 DI | Refrigeration | Cellulosic Fermentation HPLC Analytical Standards
HPLC Cellulosic Calibration Standard Mix #2 | LQC-HPLC-CE-2 | 0.80% w/v DP4+ (Dextrin), 0.20% w/v Cellobiose, 2.00% w/v Glucose, 2.00% w/v Xylose, 1.20% w/v Arabinose, 0.20% w/v Lactic Acid, 0.80% w/v Glycerol, 0.40% w/v Acetic Acid, 4.00% w/v Ethanol | Acidified Type 1 DI | Refrigeration
HPLC Cellulosic Calibration Standard Mix #3 | LQC-HPLC-CE-3 | 1.20% w/v DP4+ (Dextrin), 0.30% w/v Cellobiose, 3.00% w/v Glucose, 3.00% w/v Xylose, 1.80% w/v Arabinose, 0.30% w/v Lactic Acid, 1.20% w/v Glycerol, 0.60% w/v Acetic Acid, 6.00% w/v Ethanol | Acidified Type 1 DI | Refrigeration
HPLC Cellulosic Calibration Standard Mix #4 | LQC-HPLC-CE-4 | 1.60% w/v DP4+ (Dextrin), 0.40% w/v Cellobiose, 4.00% w/v Glucose, 4.00% w/v Xylose, 2.40% w/v Arabinose, 0.40% w/v Lactic Acid, 1.60% w/v Glycerol, 0.80% w/v Acetic Acid, 8.00% w/v Ethanol | Acidified Type 1 DI | Refrigeration
HPLC Cellulosic Calibration Standard Mix #5 | LQC-HPLC-CE-5 | 2.00% w/v DP4+ (Dextrin), 0.50% w/v Cellobiose, 5.00% w/v Glucose, 5.00% w/v Xylose, 3.00% w/v Arabinose, 0.50% w/v Lactic Acid, 2.00% w/v Glycerol, 1.00% w/v Acetic Acid, 10.00% w/v Ethanol | Acidified Type 1 DI | Refrigeration
1HPLC Cellulosic Validation Standard Mix | LQC-HPLC-CE-V | 1.60% w/v DP4+ (Dextrin), 0.40% w/v Cellobiose, 4.00% w/v Glucose, 4.00% w/v Xylose, 2.40% w/v Arabinose, 0.40% w/v Lactic Acid, 1.60% w/v Glycerol, 0.80% w/v Acetic Acid, 8.00% w/v Ethanol | Acidified Type 1 DI | Refrigeration
Compositional Analysis Sugar Recovery Standard Mix #1 | LQC-HPLC-CA-R | 0.25% w/v Glucose, 0.15% w/v Xylose, 0.05% w/v Arabinose | Acidified Type 1 DI | Refrigeration
HPLC Fusel Alcohol Standard #1 | LQC-HPLC-FA-1 | 0.05% w/v Methanol, 1-Propanol, Isobutanol, 1-Butanol, 3-Methyl-1-Butanol, 2-Methyl-1-Butanol and 1-Pentanol | Acidified Type 1 DI & Ethanol | Refrigeration | Fusel Alcohol Standards
HPLC Fusel Alcohol Standard #2 | LQC-HPLC-FA-2 | 0.10% w/v Methanol, 1-Propanol, Isobutanol, 1-Butanol, 3-Methyl-1-Butanol, 2-Methyl-1-Butanol and 1-Pentanol | Acidified Type 1 DI & Ethanol | Refrigeration
HPLC Fusel Alcohol Standard #3 | LQC-HPLC-FA-3 | 0.20% w/v Methanol, 1-Propanol, Isobutanol, 1-Butanol, 3-Methyl-1-Butanol, 2-Methyl-1-Butanol and 1-Pentanol | Acidified Type 1 DI & Ethanol | Refrigeration
HPLC Fusel Alcohol Standard #4 | LQC-HPLC-FA-4 | 0.40% w/v Methanol, 1-Propanol, Isobutanol, 1-Butanol, 3-Methyl-1-Butanol, 2-Methyl-1-Butanol and 1-Pentanol | Acidified Type 1 DI & Ethanol | Refrigeration
HPLC Fusel Alcohol Standard #5 | LQC-HPLC-FA-5 | 0.60% w/v Methanol, 1-Propanol, Isobutanol, 1-Butanol, 3-Methyl-1-Butanol, 2-Methyl-1-Butanol and 1-Pentanol | Acidified Type 1 DI & Ethanol | Refrigeration
1HPLC Fusel Alcohol Validation Standard | LQC-HPLC-FA-V | 0.40% w/v Methanol, 1-Propanol, Isobutanol, 1-Butanol, 3-Methyl-1-Butanol, 2-Methyl-1-Butanol and 1-Pentanol | Acidified Type 1 DI & Ethanol | Refrigeration
IC Calibration Standard Mix #1 | LQC-IC-1 | 2.0 mg/L Sulfate and Chloride | Type 1 DI | Room Temp | IC Analytical Standards
IC Calibration Standard Mix #2 | LQC-IC-2 | 4.0 mg/L Sulfate and Chloride | Type 1 DI | Room Temp
IC Calibration Standard Mix #3 | LQC-IC-3 | 6.0 mg/L Sulfate and Chloride | Type 1 DI | Room Temp
IC Calibration Standard Mix #4 | LQC-IC-4 | 8.0 mg/L Sulfate and Chloride | Type 1 DI | Room Temp
IC Calibration Standard Mix #5 | LQC-IC-5 | 10.0 mg/L Sulfate and Chloride | Type 1 DI | Room Temp
1IC Validation Standard Mix | LQC-IC-V | 8.0 mg/L Sulfate and Chloride | Type 1 DI | Room Temp
IC Calibration Standard Mix #1 (Lower Level) | LQC-IC-1L | 0.5 mg/L Sulfate and Chloride | Type 1 DI | Room Temp
IC Calibration Standard Mix #2 (Lower Level) | LQC-IC-2L | 1.0 mg/L Sulfate and Chloride | Type 1 DI | Room Temp
IC Calibration Standard Mix #3 (Lower Level) | LQC-IC-3L | 2.0 mg/L Sulfate and Chloride | Type 1 DI | Room Temp
IC Calibration Standard Mix #4 (Lower Level) | LQC-IC-4L | 2.5 mg/L Sulfate and Chloride | Type 1 DI | Room Temp
IC Calibration Standard Mix #5 (Lower Level) | LQC-IC-5L | 5.0 mg/L Sulfate and Chloride | Type 1 DI | Room Temp
1IC Validation Standard Mix (Lower Level) | LQC-IC-VL | 2.5 mg/L Sulfate and Chloride | Type 1 DI | Room Temp
GC Calibration Standard Mix #1 | LQC-GC-1 | 90.0% w/w Ethanol, 0.60% w/w Methanol, 9.40% w/w Heptane | Ethanol | Refrigeration | GC Analytical Standards
GC Calibration Standard Mix #2 | LQC-GC-2 | 92.0% w/w Ethanol, 0.40% w/w Methanol, 7.60% w/w Heptane | Ethanol | Refrigeration
GC Calibration Standard Mix #3 | LQC-GC-3 | 94.0% w/w Ethanol, 0.20% w/w Methanol, 5.80% w/w Heptane | Ethanol | Refrigeration
GC Calibration Standard Mix #4 | LQC-GC-4 | 96.0% w/w Ethanol, 0.10% w/w Methanol, 3.90% w/w Heptane | Ethanol | Refrigeration
GC Calibration Standard Mix #5 | LQC-GC-5 | 98.0% w/w Ethanol, 0.05% w/w Methanol, 1.95% w/w Heptane | Ethanol | Refrigeration
1GC Validation Standard Mix | LQC-GC-V | 96.0% w/w Ethanol, 0.10% w/w Methanol, 3.90% w/w Heptane | Ethanol | Refrigeration
GC Calibration Standard Mix #1 (Expanded Range) | LQC-GC-1ER | 20.0% w/w Ethanol, 0.60% w/w Methanol, 10.0% w/w Heptane, 69.40% w/w Isooctane | Organic | Refrigeration
GC Calibration Standard Mix #2 (Expanded Range) | LQC-GC-2ER | 50.0% w/w Ethanol, 0.50% w/w Methanol, 10.0% w/w Heptane, 39.50% w/w Isooctane | Organic | Refrigeration
GC Calibration Standard Mix #3 (Expanded Range) | LQC-GC-3ER | 75.0% w/w Ethanol, 0.30% w/w Methanol, 10.0% w/w Heptane, 14.70% w/w Isooctane | Organic | Refrigeration
GC Calibration Standard Mix #4 (Expanded Range) | LQC-GC-4ER | 90.0% w/w Ethanol, 0.20% w/w Methanol, 4.0% w/w Heptane, 5.80% w/w Isooctane | Organic | Refrigeration
GC Calibration Standard Mix #5 (Expanded Range) | LQC-GC-5ER | 99.4% w/w Ethanol, 0.10% w/w Methanol, 0.50% w/w Heptane, 0.00% w/w Isooctane | Organic | Refrigeration
1GC Validation Standard Mix (Expanded Range) | LQC-GC-VER | 90.0% w/w Ethanol, 0.20% w/w Methanol, 4.0% w/w Heptane, 5.80% w/w Isooctane | Organic | Refrigeration
Karl Fischer Water Validation Standard | LQC-KF-V | 1.0% w/w Water | Butanol | Room Temp | KF Standard
DE Validation Standard | LQC-DE-V | 1.0% w/w Glucose | Type 1 DI | Refrigeration | DE Standard
Brix Validation Standard | LQC-BX-V | 30.0% w/w Sucrose | Type 1 DI | Refrigeration | Brix Standard
Brix Validation Standard (Lower Level) | LQC-BX-VL | 15.0% w/w Sucrose | Type 1 DI | Refrigeration
Acidity Validation Standard | LQC-AC-V | 0.0070% w/w Acetic Acid | Type 1 DI | Room Temp | Acidity Standards
Acidity Validation Standard (Bulk) | LQC-AC-V-B | 0.0070% w/w Acetic Acid | Type 1 DI | Room Temp
Acidity Validation Standard (Lower Level) | LQC-AC-VL | 0.0030% w/w Acetic Acid | Type 1 DI | Room Temp
Acidity Validation Standard (Lower Level) (Bulk) | LQC-AC-VL-B | 0.0030% w/w Acetic Acid | Type 1 DI | Room Temp
Acidity Validation Standard (Lowest Level) | LQC-AC-VLL | 0.0010% w/w Acetic Acid | Type 1 DI | Room Temp
Acidity Validation Standard in Ethanol Matrix | LQC-AC-VE | 0.0070% w/w Acetic Acid | Type 1 DI | Room Temp
Acidity Validation Standard in Ethanol Matrix (Lower Level) | LQC-AC-VLE | 0.0030% w/w Acetic Acid | Type 1 DI | Room Temp
Sulfur Calibration Standard #1, in Isooctane Matrix | LQC-SU-1 | 5.0 mg/Kg Sulfur | Isooctane | Room Temp | XRF & Combustion Analytical Standards
Sulfur Calibration Standard #2, in Isooctane Matrix | LQC-SU-2 | 10.0 mg/Kg Sulfur | Isooctane | Room Temp
Sulfur Calibration Standard #3, in Isooctane Matrix | LQC-SU-3 | 20.0 mg/Kg Sulfur | Isooctane | Room Temp
Sulfur Calibration Standard #4, in Isooctane Matrix | LQC-SU-4 | 30.0 mg/Kg Sulfur | Isooctane | Room Temp
Sulfur Calibration Standard #5, in Isooctane Matrix | LQC-SU-5 | 40.0 mg/Kg Sulfur | Isooctane | Room Temp
1Sulfur Validation Standard, in Isooctane Matrix | LQC-SU-V | 30.0 mg/Kg Sulfur | Isooctane | Room Temp
Total, Dissolved, and Suspended Solids Reference Material | LQC-TS-R | 30.0% w/w Total Solids, 20.0% w/w Dissolved Solids, 10.0% w/w Suspended Solids | Type 1 DI | Refrigeration
Total, Dissolved, and Suspended Solids Reference Material (Bulk) | LQC-TS-R-B | 30.0% w/w Total Solids, 20.0% w/w Dissolved Solids, 10.0% w/w Suspended Solids | Type 1 DI | Refrigeration
Residual Starch Reference Material | LQC-RS-R | 10.0% dw Residual Starch | Type 1 DI | Refrigeration
Residual Starch Reference Material (Bulk) | LQC-RS-R-B | 10.0% dw Residual Starch | Type 1 DI | Refrigeration
1All Validation Standards are prepared as unique lots from the Calibration Standards to act as a true Secondary Standard
Unit Notes: % w/v = g/mL; % w/w = g/g